## Slide 1: iot.schema.org Community Update
May 17, 2017

## Slide 2: Agenda
Review the agenda, items to add
Updated meta model/ontology with FoI
Mapping Haystack tags in iot.schema.org
Documentation Workstream
Organizational updates
AOB

## Slide 3: iot.schema.org
Feature of Interest
Haystack Vocabulary Alignment
May 17, 2018

## Slide 4: Feature of Interest
Update on the meta-model

## Slide 5: Motivation for Feature Of Interest Pattern
Binds Capability and Interaction Patterns to real-world objects
This provides information about the environment in which sensing/actuating is applied
PlugFest use cases prove that the Feature of Interest (FoI) pattern is needed in iot.schema.org

## Slide 6: Feature Of Interest Pattern

## Slide 7: Feature of Interest Example
{
"@id": "iot:TemperatureSensing",
"rdfs:subClassOf": { "@id": "iot:Capability" },
"iot:providesInteractionPattern": [ { "@id": "iot:Temperature“ }]
}, {
"@id": "iot:Temperature",
"rdfs:subClassOf": { "@id": "iot:Property" },
"iot:isPropertyOf": {"@type": "iot:Room"},
"iot:providesOutputData": { "@id": "iot:TemperatureData“ }
}, {
"@id": "iot:TemperatureData",
"rdfs:subClassOf": { "@id": "iot:DataSchema" },
"iot:hasFeatureOfInterest": {"@type": "iot:Room"},
"iot:observedProperty": "iot:Temperature",
"schema:propertyType": { "@id": "schema:Float" },
"schema:unitCode": { "@id": "iot:TemperatureUnit" },
"schema:minValue": "schema:Float",
"schema:maxValue": "schema:Float"
}

## Slide 8: Haystack vocabulary in iot.schema.org
Extension of iot.schema.org

## Slide 9: Project Haystack
Aims to standardize semantic data models to unlock the value of data generated by building equipment.
It is an open source initiative to enable Internet of Things applications.
Applications include automation, control, energy, HVAC, lighting, and other environmental systems.

## Slide 10: Haystack Model
entity: is an abstraction for some physical object in the real world, e.g.
sites, equipment, sensor points, etc.
tag: is a name/value pair applied to an entity.
equip: is a physical asset, e.g. AHU, boiler, or chiller. Can also be used
to model a logical grouping, e.g. chiller plant.
point: is typically a digital or analog sensor or actuator
  sensor: input, AI/BI, sensor
  cmd: output, AO/BO, actuator, command
  sp: setpoint, internal control variable, schedule
kind: Defines a tag value type, e.g., number, bool, str
Multiple tags are used to model the role of a point:
  where: discharge, return, exhaust, outside
  what: air, water, steam
  measurement: temp, humidity, flow, pressure

## Slide 11: Integration of Haystack vocabulary in iot.schema.org

## Slide 12: Example: Boiler in Haystack
equip: boiler
It is used to generate hot water or steam for heating.
Equip level tags:
  where: equipRef must reference parent plant if associated with a plant
  what: hot water or steam or oil or gas
Points associated with the boiler equip:
  run cmd
  run sensor
  circ pump cmd
  circ pump sensor
  condensate pump cmd
  condensate pump sensor

## Slide 13: Example: Boiler mapped to iot.schema.org
iot:Capability: iot:Boiler
  subclasses: iot:HotWaterBoiler, iot:SteamBoiler, iot:OilBoiler etc
iot:InteractionPattern:
  iot:Action: iot:TurnOn, iot:TurnOff (run cmd)
  iot:Property: iot:RunStatus (run sensor)
  iot:Action: iot:CirculatePumpOn, iot:CirculatePumpOff (circ pump cmd)
  iot:Property: iot:CirculatePumpStatus (circ pump sensor)
  iot:Action: iot:CondensatePumpOn, iot:CondensatePumpOff (condensate pump cmd)
  iot:Property: iot:CondensatePumpStatus (condensate pump sensor)
What should be the result of mapping the Haystack vocabulary into iot.schema.org?

## Slide 14: Thank You!
Questions please…

## Slide 15: Documentation Workstream
Landing page
One page summary
White paper
Slide deck
User guide
Developer guide

## Slide 16: Landing Page (s)
iot.schema.org entry point
  Browse the schemas
github entry point
  Focus on developers and users
  Technical guidance and examples
  Tools
W3C Community Group entry point
  Summary, informational, getting started
  Focus on incubating new definitions

## Slide 17: One Pager
What, why, how, and getting involved on a single page
Some technical detail to explain what part of the solution this is and what technology is being used
Same information on the W3C Community page

## Slide 18: White Paper
Describes iot.schema.org in a conference style and format
Broad analysis of other approaches and formats
References for research

## Slide 19: Slide Deck
Explains iot.schema.org
Comprehensive
Available as source material for anyone to include
10 minute version for outreach

## Slide 20: User Guide
How to use iot.schema.org definitions in systems
Semantic annotation and categories
Annotation examples in TD, other formats
Discovery and filtering
Feature of Interest annotation

## Slide 21: Developer Guide
How to create and contribute iot.schema.org definitions
Best practices for definitions

## Slide 22: Organizational update
Resources
  Shared Google Document – historical, rolling agenda
  Google Discussion Group – broad issues
  Github organization – issues and discussion
W3C Community Group
  A venue for incubation and contribution of new definitions
  New application domains – eventually may split off
  Framework to apply a contributor IPR policy to CG members
  Also can accept contributions from schema.org members under the schema.org IPR policy

## Slide 23: Any Other Business